- Dimensions

  - Floor: 6m wide * 8m deep

  - Height: 2.5 to eaves

- Materials

  - Roof  - corrugated 0.42BMT

  - Walls  - trimdeck 0.42BMT

- Colours

  - Roof – monument

  - Walls – monument

  - Doors basalt

  - Flashings – basalt

- Extras

  - Skylights x4

  - Whirlybird x1

  - Windows x2 on left side

  - Roller door motor

  - Roller door – 5m wide x 2.2m high

- Construction

  - If you could recommend any builders you work with

  - We’re located in Killara 2071 NSW