2252 Goodwood Road - Replacement Shed Requirements

We are replacing a shed destroyed in the October 2023 firestorm. We are looking for a shed to fit on a 9m x 6m concrete slab. Existing slab is being removed, and a new slab installed so there is some flexibility in slab dimensions.

There needs to be an internal lined room for a laundry in one corner of the shed. There will also be a toilet and shower unit in the laundry. approx. size 3m x 3m with an internal sliding door into the garage/workshop area.

The balance of the shed will be used to accommodate 1 vehicle and a ride on lawnmower, a 3m x 3m work area and general storage.

Two roller doors with remote openers are needed, two external entry doors and 4 to 6 windows (depending on sizes available) are needed. Roof and walls to have insulation.

2x Wind Turbine Air Roof Vent Exhaust in garage area. Fan to ventilate laundry area.

Guttering to drain to (existing) 22500 litre rainwater tanks on long side of shed. Guttering needs to connect with guttering on existing 4 car carport on opposite side of shed to rainwater tanks.

Shed to be steel framed with Colourbond or similar cladding on walls and Colourbond or similar roofing panels.

Preferred colour – mist green.