Industrial Shed

Dimensions

MAIN BUILDING Design:

Farm Length: 15.0m Span: 12.0m

Eaves height: 6.0m

Bay size: 5.0m

Style: Fully Enclosed, up grade frame work for fure solar panelson one side of roof for future solar panels with Z150 15

Terrain category: 2

Region: A Roof type: Gable

Roof pitch: 12°

Main Frame Construction: RHS Columns & Rafters

Roof Purlins: Galvanised Z Section, Bridging and Bolts to suit

Wall Girts: Galvanised Z Section, Bridging and Bolts to suit Roof Cladding:

Colour Corrugated Wall Cladding: Colour Corrugated. Barge Capping & Flashings:

Colour Gutters: Colour Fascia Style Downpipes (to ground level):

PVC To Ground Level Main Entry door(s):

Two x 3.5m wide x 3.8m high Roller Door with Merlin Silentdrive Elite Remote Personal access door(s):

One x Larnec 650 Series 820mm wide Windows: Not Included Skylights (1/2 Span):

Roof insulation: 50mm Blanket & Safety Mesh

CONTACT DETAILS –

Mr Barry Goodall - 0431 472 175

Email - kategoodall21@gmail.com