Colour – Windspray

Stramit Monopanel® wall cladding

Fascia– Surfmist

Guttering - Windspray

Roller Doors – Surfmist (Panel Door)

Size - 17m x 10m (5m / 7m / 5m – double panel door in the middle)

Height 3m to eave

Middle tower – 5m

1 x white aluminum barn window (front & rear)

1 x white aluminum sliding door middle of the north side

2 x white aluminum window south side

2 x white windows mezzanine (north side)

Door automation x 3

Shed insulation

Eave Extension

Mezzanine floor with stair case at rear (middle tower)

Roof ventilation – middle tower

Shed installation

Vermin Seal