Shed specs

| Dimensions | 10.00m (L) x 5.00m (W) x 2.40m (H) |
| --- | --- |
| Height to apex | 2.84m |
| Roof pitch | Gable, 10 deg |
| Walls & Roof | Colorbond 0.42BMT Colour: Paperbark |
| Trim and Colour | Paperbark |
| Downpipe | 90mm Colorbond |
| Access doors | 1 x 920mm X 2040mm – must be a fire rated door |
| Windows | 4 x 895 x 1731 sliding glass windows with aluminium fly screens 1 x 790 x 589 sliding glass window with aluminium fly screen - Window positions - refer to the attached floor plan - The shed design for the windows must allow for fire shutters to be attached – refer to the dimensions/allowances referred to in attached Bushfire Control specifications |
| Insulation | Is roof sheeting and wall sarking provided or do we need to source these separately? |
| Carports | We also would like the quote to include two carports: - 6.00m X 3.00m carport to be built adjacent to the shed – see the attached site plan. We would like runoff from the carport to go onto the shed roof if possible. - 6.00m (L) x 3.00m (H) x 4.00m (W) Colour for both: Paperbark |
| Delivery | - Can you deliver to Towamba? - What is the likely delivery time – how long from placing the order to delivery to the site? |