| BUILDING SUMMARY |  |  |  | DESIGN FACTORS BUILT TO NCC REQUIRMENTS FOR 2019 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dimensions: |  |  | Office use only |  |  |  |  |
| Span: |  | 4m |  | Importance Level: |  |  | 2 |
| Length: |  | 10.01m |  | Wind Region: |  |  | Reg A |
| Eave Height: |  | 4.8m |  | Terrain Category: |  |  | TCat 3 |
| Apex Height: |  | 5.61m |  | Topography |  |  | 1.04 |
| Bay Width: |  | Side bays 0.5m, 3.17m, 3.17m and 3.17m x 4. End bays are 4m each |  | Shielding Factor: |  |  | 1 |
| Roof Pitch: |  | 22Deg° Gable |  | Internal Pressure Co-efficient: |  |  | -0.65, 0.63 |
| Left Lean-to: |  | Left LeanTo of Span 4m. and eave height of 2.702m for 4 bays from the Front. Pitch is 11Deg. Drop is 1.32m |  | Site Wind Speed (mtrs/second) |  |  | 38.8 |
| Right Lean-to: |  |  |  | Right LeanTo of Span 4m. and eaves height of 2.702m for 4 bays from the Rear. Pitch is 11Deg. Drop is 1.32m |  |  |  |
| Wall Cladding Type |  |  |  | K-Panel 0.35 CB |  |  |  |
| Roof Cladding Type |  |  |  | Corrugated 0.42 CB |  |  |  |
| Roller Doors |  |  |  | 2 x 2.20h X 2.80 CB *Series A # |  |  |  |
| Glass Sliding Door |  |  |  | 1 x 2.10h x 1.81 XO Standard Glass Sliding Door |  |  |  |
| Fly wire door |  |  |  |  |  |  |  |
| Windows |  |  |  | 4 x 900 X1.800 XO Sliding Window 4mm Clr F 1 x 475 x 815 Barn Window 4mm Clr Flt S1600 U5300 W600pa - Red |  |  |  |
| Fly screens |  |  |  |  |  |  |  |
| PA Door |  |  |  | 2 X 2040 x 820 x 35mm - Pre-Hung - Single Skin - P/C Tube Frame - 180 deg - CB |  |  |  |
| Insulation |  |  |  | COMFORT - AIR-CELL Insulshed (45m2) for ROOFLLEANTO for area 42.82889m2 COMFORT - AIR-CELL Insulshed (45m2) for ROOFMAIN for area 45.34376m2 COMFORT - AIR-CELL Insulshed (45m2) for ROOFRLEANTO for area 42.82889m2 |  |  |  |
| Open Bays |  |  |  |  |  |  |  |
| Mezzanine |  |  |  | Mezzanine Floor (9.51000022888184m) for 3 bays from right end. 1.5Kpa. Joist Spacing 450 |  |  |  |
| Divider Walls |  |  |  |  |  |  |  |
| Whirlybirds |  |  |  |  |  |  |  |
| Gutter Type |  |  |  | Quad 115 Slotted Gutter CB |  |  |  |
| Skylights |  |  |  |  |  |  |  |
| * |  |  |  |  |  |  |  |