On piers. 2 double sliders. 2.4 veranda on length (Roof 8.4m)

Veranda posts (2) to be Merbau.  I got them.

Ceiling lining plywood extending out through veranda ceiling.

Walls by-rock

Insulation roof and walls.

Corrugated Colorbond

Council plans

Price to erect.